## Slide 1: Responding To Natural Gas Emergencies
For more information be sure to read the instructions in the folder before you start.

## Slide 2
100
200
Natural
Gas
Emergencies
300
400
500
100
200
Chemical & Physical
Properties
300
400
500
100
200
Understanding
Natural
Gas
300
400
500
100
200
Natural
Gas
Transmission
300
400
500
100
200
Natural
Gas
Distribution
300
400
500
100
200
Can You
Touch This?
300
400
500
Final Jeopardy Question

## Slide 3: $100 - Chemical & Physical Properties
Answer: Lower Explosive Limit or Lower Flammable Limit
LEL or LFL

## Slide 4: $200 - Chemical & Physical Properties
Natural Gas
Answer: Rises – natural gas is lighter than air
Rises?
Falls?

## Slide 5: $300 - Chemical & Physical Properties
This characteristic makes the chemical lethal to the respiratory system.
Answer: Asphyxiation or oxygen displacement

## Slide 6: $400 - Chemical & Physical Properties
1100 - 1200 F
Answer: Natural gas ignition temperature

## Slide 7: $500 - Chemical & Physical Properties
Answer: No – to be flammable, the reading would have to be 100% on the meter not 8%
CO
H2S
O2
LEL
000
000
08
20.8
If this 0-100% (LEL) meter has been calibrated to natural gas, does the reading indicate an explosion can occur at this exact position?

## Slide 8: $100 - Understanding Natural Gas
Natural gas requires a minimum mixture of ___________natural gas in air in order to ignite.
Answer: Between 4% to 5% depending on the mixture or operator

## Slide 9: $200 - Understanding Natural Gas
Commercial grade natural gas is usually composed of ethane and butane but the majority of natural gas is ______________.
Answer: Methane

## Slide 10: $300 - Understanding Natural Gas
What is this?
Answer: Gas Shutoff to a gas powered appliance

## Slide 11: $400 - Understanding Natural Gas
What is this?
Answer: Rotary (“Roots”) gas meter

## Slide 12: $500 - Understanding Natural Gas
What is this?... and marker is not enough?
Answer: Casing vent

## Slide 13: $100 – Natural Gas Distribution
This makes tertiary butyl mercaptan (TBM) or other chemical necessary.
Answer: TBM is an odorant – natural gas is odorless

## Slide 14: $200 – Natural Gas Distribution
Answer: None – these are all main valves and are not to
be turned
Which of these valves are responders
allowed to turn operate?
A
B
C
D

## Slide 15: $300 – Natural Gas Distribution
What is this?
Answer: Regulator

## Slide 16: $400 – Natural Gas Distribution
This un-odorized natural gas explosion in central Texas city killed 293 students and faculty lead to odorizing natural gas.
Answer: New London, Texas

## Slide 17: $500 – Natural Gas Distribution
Curb Valve or Main Valve?
Answer: Curb Valve

## Slide 18: $100 – Natural Gas Emergencies
This simple warning is critical in preventing emergencies
Answer: “Call Before You Dig”

## Slide 19: $200 - Natural Gas Emergencies
The 2012 NA ERG suggested guideline for initial evacuation in a natural gas emergency is:
Answer: 100 meters or 330 feet

## Slide 20: $300 – Natural Gas Emergencies
What is this?
Answer: Combustible Gas Indicator / 4 Gas Meter

## Slide 21: $400 – Natural Gas Emergencies
Closing main valves or other transmission or large distribution valves by responders can result in ...
Answer: Over pressure and/or line failure

## Slide 22: $500 – Natural Gas Emergencies
What is this?
Answer: Calibration site or calibration gas

## Slide 23: $100 – Natural Gas Transmission
These are used from the air to inspect ___________ for leaks or encroachment.
Answer: ROW or Rights of Way Markers

## Slide 24: $200 - Natural Gas Transmission
This tool allows any emergency responder to determine if there are pipelines in their county or community
Answer: NPMS - National Pipeline Mapping System

## Slide 25: $300 - Natural Gas Transmission
Answer: Pipeline Operator, Product, 24/7 Phone number
Three critical items of Information you can get from a transmission marker

## Slide 26: $400 - Natural Gas Transmission
Moving natural gas requires these for increasing the pressure in transmission along the line.
Answer: Compressor Stations

## Slide 27: $500 - Natural Gas Transmission
These lines take natural gas from wells to the processing plant and then to transmission lines.
Answer: Gathering Lines

## Slide 28: $100 – Can You Touch This?
Answer: Yes, this is a customer service valve

## Slide 29: $200 – Can You Touch This?
Answer: No, this is pressure regulator and relief device

## Slide 30: $300 – Can You Touch This?
Answer: Yes, this is a customer service valve

## Slide 31: $400 – Can You Touch This?
Answer: Yes, this is a service valve to a large apartment building

## Slide 32: $500 – Can You Touch This?
Answer: No, this is a pressure regulator

## Slide 33: The System
The point in the pipeline system where the finished processed natural gas changes “hands”
Answer: Gate Station or Border Station
(Sometimes called “Meter Station” by industry)
Place Your Wagers
Place your wager – when all bets have been recorded click on the button to reveal the question.
START
Notes: Answer GATE STATION